Business Insight Report

Client: EcoSmart Solutions (for a large REIT)

Project: Smart Energy Dilemma – Race for Energy Efficiency

Executive Summary

- Hog and Fox sites have the highest total energy consumption across the REIT.

- Education buildings contribute the most to overall energy usage, far ahead of other building types.

- Wide variation in energy use across sites and building types, with significant outliers.

- Immediate focus should be on high-consuming sites and education-use buildings to meet the 20% reduction target.

Objective

Identify areas of major energy inefficiency across the company's 1600+ buildings to reduce total energy consumption by 20% in two years.

Data Overview

- Daily and hourly energy meter readings across North America and Europe (2016–2017).

- Building metadata includes site, primary usage type (e.g., education, office, public), and energy readings.

- Missing values and inconsistencies were cleaned during preprocessing.

- Rolling averages (24-hour) and group summaries were generated for better trend visualization.

Key Findings

Site-Level Insights

- Hog is the site with the highest total energy usage (~450M+), followed by Fox and Rat.

- Moose site has very few buildings but the highest average energy use per building (an outlier).

- Rat has the largest number of buildings but relatively lower average energy use per building.

Usage-Type Insights

- Education buildings dominate energy usage, accounting for the largest share by a wide margin.

- Office buildings are also high consumers but spread across many buildings.

Energy Efficiency Observations

- Some buildings show consistent high usage throughout the years without obvious seasonal reductions.

- Significant outliers detected (seen in boxplots) — some buildings consume 5–10x the typical median energy for their site/usage type.

- Certain sites (e.g., Eagle, Bear) have more stable and lower variance in energy use compared to others.

Business Implications

- High Energy Usage Concentration: A small number of sites (Hog, Fox, Rat) and building types (education, office) account for a majority of energy consumption.

- Opportunity: Focusing energy-saving measures on just the top-consuming buildings can deliver disproportionate impact toward the 20% reduction goal.

- Risk: Outliers may skew averages; some sites/buildings may need individualized strategies (not one-size-fits-all).

Recommendations

- Prioritize top sites: Audit and optimize energy usage at Hog, Fox, and Rat sites first.

- Target education buildings: Focus on energy retrofits and operational changes in education facilities.

- Investigate outliers: Buildings far above median usage (seen in boxplots) should be immediately flagged for deep dive analysis.

- Implement real-time monitoring: Introduce IoT-based smart meters on top sites to identify ongoing waste dynamically.

- Seasonal tuning: Adjust building heating/cooling systems proactively based on seasonal usage patterns observed.

Graphs

Mean Energy Use Over Time for Major Buildings

Total Energy by Site

Total Energy by Primary Use

Boxplots showing Energy Use Variations

Mean Energy Use Per Building Analysis

Mean Energy Use – Rat Office

Mean Energy Use – Hog_Public_Kevin

Mean Energy Use – Hog_Public_Brad

Mean Energy Use – Hog_education_Janell

Mean Energy Use – Hog_assembly_Maribel

Mean Energy Use – Hog_assembly_Letha

Mean Energy Use – Fox_Education_Wills

Mean Energy Use – Eagle_Education_Peter

Mean Energy Use – Bear_Education_Wilton